Slide 1 <15s

Good afternoon, everyone. Today we’re excited to present our proof-of-concept the selfie dental assistant that supports early oral health awareness and preventive care.

To understand why this problem matters, we begin with the global burden of oral disease

Slide 2 < 25s

Oral diseases affect nearly 3.7 billion people and impact essential functions like chewing, speaking, and confidence. Conditions such as cavities and gum disease are also linked to systemic issues like diabetes and heart disease. Despite being preventable, they remain as one of the most common global conditions.

So, if these conditions are preventable, why are so many people untreated?

Slide 3 < 15s
Well, these issues persist because people face significant barriers— cost, limited access, low awareness, and dental fear all contribute to this, making dental care the most unaffordable health service for many.

Slide 5 <30s

Our stakeholder zhuo helped confirm this need from a clinical perspective.

This leads directly to our preliminary need statement: There is a need for an easy-to-use, affordable platform that helps users understand and track their oral health, encouraging early intervention and regular preventive care, particularly for populations with limited access to dental services.

Slide 6 <30s

With that in mind, we concluded that the system must be accessible, affordable, and easy to use while remaining flexible for future diagnostic features.

We then identified constraints such as relying only on user input and smartphone photos, not including X-rays, using open-source datasets, staying strictly non-diagnostic, and complying with privacy and appstore policies. Our assumptions include that users can take three oral photos, follow simple instructions, and that smartphone cameras provide adequate quality.

Slide 7 <15s

Using these parameters, we created a table that listed all the desired design input, how we quantify them into measurable objectives, and mapping them to their corresponding output. Together, these design inputs and outputs create a clear, testable framework for development.

2 min 20s total for slide 1-7

Slide 8 (30s)

In the first branch of our proposed solution, the user takes photos of their teeth, which is sent to a multi-label cnn. This model analyzes the image and outputs probabilities for different oral health conditions. In parallel, the second branch collects symptom-based information, things like bleeding gums or pain and converts these answers into another set of probability scores. We combine the outputs using a weighted average. This allows us to integrate what the model can see with what the user feels and experiences, giving a more accurate and clinically meaningful estimate.

Slide 8(< 30s)

For this prototype, we developed two binary classification model that detects dental calculus from extraoral tooth images. Our dataset included 307 labeled images, split into 80/20 for training and testing. Before training, all images were resized and normalized. We applied data augmentation, to make the model more robust to real-world image variability. Both of our neural network models were trained using cross-entropy loss and the Adam optimizer, which are standard choices for image classification tasks.

Slide 9(30s)

Our first model, MobileNetV3-Small, was chosen because it is specifically optimized for lightweight deployment on mobile devices. The training and validation curves show that the model learns consistently over time and the loss curves reflect the same trend. The model correctly identifies calculus cases 31 times and healthy cases 15 times, with some misclassifications on both sides. Overall, MobileNetV3-Small achieved a test accuracy of 74.19% and an ROC score of 0.77, indicating moderate discriminatory ability. These results establish a baseline and confirm that MobileNetV3-Small can perform dental calculus detection, even with a relatively small dataset.

Slide 10 (30s)

Compared to MobileNetV3-Small, our second model ResNet-18 has a slightly deeper architecture but is still compact enough for mobile deployment. In training, ResNet-18 learned efficiently and reached higher validation accuracy. The model correctly classified 22 calculus cases and 27 healthy cases, showing stronger performance with better precision and recall. Overall, ResNet-18 achieved a test accuracy of 79% and an ROC score of 0.82, indicating better discriminative power compared to the first model. These results suggest that ResNet-18 generalizes more effectively on our dataset and may be the favorable choice moving forward.

Slide 11 (10s)

To evaluate real-world performance, we tested both models on three new images that were not part of the dataset: one healthy sample, one with light calculus, and one with heavy calculus. We wanted to see how confidently they could classify unseen cases.

Slide 12 (30s)

Here we show the inference results from the three new images. Both MobileNetV3 and ResNet-18 correctly classified all three samples, which is really encouraging. As expected, both models showed lower confidence when predicting the light calculus case, since the visual signs are subtle, and much higher confidence for the heavy calculus image.

Gradient-Weighted Class Activation Mapping (Grad-CAM) is an explainable AI technique for visualizing what parts of an image a CNN is focusing on to make a prediction. For both architectures, the heatmaps highlight the regions around the gumline and tooth surfaces where dental calculus typically appears. This gives us interpretability and reassurance that the models are focusing on clinically relevant areas.

Slide 13 (20s)

To complement the image analysis model, we also built a questionnaire-based decision tree based on symptoms and personal history. Each answer contributes weighted risk scores toward conditions like gingivitis, periodontitis, cavities, and calculus.

For example, if a user reports that their gums bleed ‘often,’ the system increases the predicted risk of gingivitis and raises the probability of early periodontitis. This approach captures clinical symptoms that are not always visible in extraoral images and allows the prototype to provide a more holistic, patient-centered assessment.

Slide 16 <15s
A full FMEA table is at the end of the slides as a refence for our risk analysis. We have simplified the table into table 2, highlighting 3 failure modes with the highest RPNs FM1, FM3 and FM8.

Slide 17 <30s

For FM1, the key risk is false negatives. This can come from incomplete symptoms or mis-calibrated thresholds. We address this with red-flag overrides, mandatory questions, and conservative high-sensitivity scoring, supported by unit-tested triage logic. Detection relies on clinician-validated datasets. The main challenges here are technical reliability of ML outputs and the resource limitations around accessing annotated dental data.

Slide 19 <30s

For FM3, the main risk comes from users taking poor or unusable photos due to confusion, low health literacy, or ignoring the overlay guides. We address this with step-by-step camera instructions, enforced blur and exposure checks, and clear plain-language prompts. Detection involves monitoring image-quality scores and analyzing repeated retakes. The major challenges here include the technical difficulty of real-time feedback, logistical issues with user variability, and the need for diverse image samples

Slide 20 <30s

For FM8, the main risk is a data breach caused by weak encryption, insecure storage, or misconfigured cloud access. We mainly prevent this with strong AES-256 encryption at rest and in transit and routine audits. Detection relies on security monitoring, log reviews, and breach-detection alerts. The key challenges here include the technical complexity of implementing robust encryption and access control, the logistical demands of consent management, and the resources needed to build a secure backend.

1 min 40

Slide 23

Looking ahead to the winter term, our focus is on expanding the prototype into a more clinically robust and user-ready system.

First, we will work on data expansion and clinical validation. Our current dataset is limited, so acquiring a larger and more diverse collection of extraoral and intraoral images will be essential. We also plan to collaborate with dental professionals to obtain higher-quality labels and clinical insight.

Second, we’ll continue algorithm and model development. This includes refining preprocessing to control exposure, sharpness, and reflections, and moving toward a multi-label model that can detect several oral conditions at once—not just dental calculus.

Third, we will enhance the questionnaire and triage system, extending the logic based on clinician feedback and adding red-flag pathways that guide users to urgent care if needed.

On the UI/UX side, we plan to gather user feedback through surveys and interviews and improve the image-capture experience with built-in guidance.

Next, we’ll focus on integration and backend development, before preparing for mobile development.

Altogether, these steps will help us transition from a proof-of-concept into a clinically meaningful and deployable tool